## Channel 1
Run | HV (V) | Pules height (mV) | error | Pulse area (nVs) | error
5356 | 740 | 593.6 | 0.9 | 209.8 | 0.2 | Second peak around 950 mV? | Hard to pick range
5357 | 760 | 702.7 | 1.1 | 250.6 | 0.4
5360 | 780 | 830.6 | 1.1 | 296.6 | 0.3 |  | Hard to pick range
5361 | 720 | 498.6 | 0.7 | 176 | 0.2
5364 | 620 | 188.5 | 0.3 | 65.77 | 0.08 |  | Hard to pick range
5365 | 640 | 230.8 | 0.4 | 80.86 | 0.12
5368 | 660 | 282.5 | 0.5 | 99.08 | 0.16
5369 | 680 | 343 | 0.7 | 121.2 | 0.2
5372 | 700 | 415.1 | 0.7 | 146.8 | 0.3
5373 | 600 | 151.7 | 0.3 | 52.77 | 0.07
5374 | 800 | 950.8 | 0 | 349.2 | 0.4 | alpha escape?
5377 | 820 | 950.9 | 0 | 389.8 | 0.3 | alpha escape?
5378 | 840 | 950.9 | 0 | 425.7 | 0.3 | Not avalible?
5381 | 880 | 950.8 | 0 | 487.7 | 0.2
5382 | 580 | 121.7 | 0.2 | 42.01 | 0.05 | Very close to Compton edge - hard to differentiate
5383 | 500 | 46.97 | 0.1 | 15.04 | 0.04 | Very close to Compton edge - hard to differentiate
5384 | 540 | 76.71 | 0.21 | 25.73 | 0.06 | Very close to Compton edge - hard to differentiate
All for Cs137 663 keV pulse | [5 empty] | Hard to pick range == Changing xmin and xmax around peak changes pulse beyond error range
Chanels 1,2,3 (4 has some defect)
Is there a raw data file somewhere that I might be able to chuck into my Gamma Spectroscopy code?
5355 | 740 | 36.78 | 0.16 | 10.62 | 0.04 | Best
|  | 86.43 | 0.26 | 28.53 | 0.07 | Have to account for Kxalpha escape
|  | 174.9 | 3.7 | 61.06 | 1.37 | Hard to resolve
|  | 291.9 | 4.9 | 100.5 | 0.7 | Should be a peak but not really resolvable
|  | 329.6 | 1.1 | 116.6 | 0.3 | Hard to resolve
5358 | 760 | 43.92 | 0.16 | 12.9 | 0.01
|  | 104.3 | 0.4 | 34.65 | 0.12
|  | 210 | 2.8 | 75.56 | 2.94 |  | NA : Not resolvable
|  | NA | NA | 119.4 | 0.8 |  | NONE : No peak
|  | 390.3 | 1.6 | 138.4 | 0.6
5359 | 780 | 51.88 | 0.18 | 15.67 | 0.04
|  | 121.8 | 0.4 | 41.22 | 0.1
|  | 241 | 4.8 | NA | NA
|  | 405.8 | 2.4 | 143.7 | 1.5
|  | 467.1 | 1.9 | 165.3 | 0.3
5362 | 720 | 31.14 | 0.12 | 8.601 | 0.034
|  | 73.09 | 0.24 | 23.48 | 0.06
|  | NA | NA | 53.68 | 1.68
|  | 237.8 | 3.5 | 83.63 | 1.08
|  | 272.7 | 1.4 | 97.59 | 0.24
5363 | 620 | NONE | NONE | NONE | NONE
|  | 27.82 | 0.08 | 7.667 | 0.029
|  | 54.38 | 0.95 | 17.56 | 0.21
|  | NA | NA | 30.62 | 0.19
|  | 104.4 | 0.3 | 35.87 | 0.09
5366 | 640 | NONE | NONE | NONE | NONE
|  | 33.73 | 0.12 | 9.763 | 0.04
|  | 65.66 | 1 | 22.18 | 0.53
|  | NA | NA | 37.42 | 0.34
|  | 128.3 | 0.5 | 43.96 | 0.16
5367 | 660 | 19.39 | 0.13 | 4.16 | 0.06
|  | 41.41 | 0.17 | 12.61 | 0.06
|  | 80.58 | 1.66 | 26.23 | 0.42
|  | 135.9 | 3.1 | 46.65 | 0.4
|  | 155.7 | 0.9 | 54.22 | 0.16
5370 | 680 | 22.34 | 0.12 | 5.456 | 0.036
|  | 50.16 | 0.2 | 15.67 | 0.05
|  | 96.98 | 1.93 | 32.74 | 0.61
|  | NA | NA | NA | NA
|  | 191.8 | 0.6 | 65.91 | 0.18
5371 | 700 | 26.36 | 0.14 | 6.856 | 0.045
|  | 61.45 | 0.31 | 19.41 | 0.06
|  | NA | NA | NA | NA
|  | 200.6 | 5.2 | 68.36 | 0.61
|  | 230.3 | 1.2 | 80.23 | 0.2
5375 | 800 | 61.23 | 0.2 | 18.75 | 0.06
|  | 143.6 | 0.4 | 48.96 | 0.15
|  | 276.9 | 4.4 | 96.34 | 1.24
|  | 467.8 | 3.9 | 167.1 | 0.6
|  | 540 | 2 | 194.1 | 0.5
5376 | 820 | 70.97 | 0.23 | 22.27 | 0.06
|  | 168.8 | 0.4 | 57.7 | 0.1
|  | 317.5 | 5.8 | 110.3 | 1.9
|  | 564.9 | 5.6 | 194.1 | 1.3
|  | 649.8 | 1.9 | 229 | 0.5
5379 | 840 | 83.43 | 0.28 | 26.25 | 0.09
|  | 197.5 | 0.6 | 68.08 | 0.31
|  | 385 | 5.2 | 131.9 | 3.9
|  | 654.4 | 8.7 | 225.9 | 1.1
|  | 759.1 | 2.5 | 268.2 | 0.5
5380 | 880 | 113.2 | 0.3 | 36.49 | 0.09
|  | 268.4 | 1.6 | 91.98 | 0.22
|  | NA | NA | NA | NA
|  | 950.8 | 0 | 314.6 | 1.4
|  | 950.8 | 0 | 358.3 | 0.8
5385 | 1000 | 261 | 1 | 85.57 | 0.24
|  | 612.3 | 1.9 | 212.7 | 0.5
|  | 950.7 | 0 | 427.6 | 7.1
|  | 950.7 | 0 | NA | NA
|  | 950.7 | 0 | 535.6 | 0.5
5386 | 1100 | 484.8 | 2.7 | 159.2 | 0.7
|  | 950.3 | 0 | 373.5 | 0.9
|  | 950.3 | 0 | 556.5 | 10.1
|  | 950.3 | 0 | NA | NA
|  | 950.3 | 0 | NA | NA
5393 | 1200 | 18.12 | 0.02 | 1.249 | 0.003
5394 | 1300 | 21.04 | 0.09 | 1.553 | 0.008
5395 | 1330 | 23.76 | 0.06 | 1.816 | 0.006
5396 | 1350 | 25.9 | 0.1 | 2.006 | 0.006
5397 | 1370 | 28.05 | 0.09 | 2.217 | 0.006
5398 | 1390 | 30.57 | 0.08 | 2.455 | 0.005
5399 | 1400 | 31.87 | 0.11 | 2.571 | 0.006
5400 | 1420 | 34.65 | 0.1 | 2.842 | 0.007
5401 | 1430 | 36.66 | 0.1 | 3.033 | 0.009
5402 | 1440 | 38.33 | 0.13 | 3.163 | 0.009
5403 | 1450 | 39.54 | 0.13 | 3.291 | 0.009
5404 | 1450 |  |  | 3.183 | 0.042
5405 | 1450
5406 | 1450

## Channel 2
Run | HV (V) | Pules height (mV) | error | Pulse area (nVs) | error
5356 | 740 | 648.2 | 0.8 | 228.8 | 0.2
5357 | 760 | 769.1 | 0.9 | 272.3 | 0.2
5360 | 780 | 951 | 0 | 321.5 | 0.3
5361 | 720 | 540.7 | 0.6 | 191.2 | 0.3
5364 | 620 | 202.6 | 0.2 | 70.82 | 0.07
5365 | 640 | 249.9 | 0.4 | 87.49 | 0.1
5368 | 660 | 305.8 | 0.5 | 107.1 | 0.1
5369 | 680 | 372.5 | 0.6 | 131.2 | 0.2
5372 | 700 | 450.9 | 0.6 | 158.6 | 0.2
5373 | 600 | 163.9 | 0.2 | 56.89 | 0.07
5374 | 800 | 951 | 0 | 370.2 | 0.3
5377 | 820 | 951 | 0 | 408 | 0.2
5378 | 840 | 951 | 0 | 441.4 | 0.2
5381 | 880 | 951 | 0 | 502.7 | 0.2
5382 | 580 | 131.2 | 0.1 | 45.18 | 0.04
5383 | 500 | 49.95 | 0.1 | 15.92 | 0.04
5384 | 540 | 82.22 | 0.17 | 27.66 | 0.07
5355 | 740 | 39.18 | 0.2 | 11.48 | 0.06 | 1
| 740 | 90.78 | 0.31 | 30.16 | 0.08 | 2
| 740 | 358.5 | 1.3 | 126.2 | 0.4 | 5
5358 | 760
5359 | 780 | 55.03 | 0.26 | 16.84 | 0.09
| 780 | 127.7 | 0.5 | 43.39 | 0.17
| 780 | 506 | 2.5 | 178.5 | 0.4
5362 | 720
5363 | 620 | NONE | NONE | NONE | NONE
| 620 | 29 | 0.1 | 8.151 | 0.032
| 620 | 111.3 | 0.6 | 38.27 | 0.11
5366 | 640
5367 | 660 | 19.91 | 0.24 | 4.392 | 0.073
| 660 | 42.54 | 0.18 | 13.2 | 0.1
| 660 | 170.2 | 1.4 | 58.83 | 0.29
5370 | 680 | 22.31 | 0.35 | 5.737 | 0.058
| 680 | 52.15 | 0.2 | 16.91 | 0.1
| 680 | 204.1 | 0.8 | 71.44 | 0.23
5371 | 700 | 27.17 | 0.16 | 7.315 | 0.07
| 700 | 62.92 | 0.37 | 20.36 | 0.09
| 700 | 249.1 | 1.4 | 87.1 | 0.2
5375 | 800
5376 | 820 | 76.25 | 0.34 | 23.9 | 0.1
| 820 | 178.7 | 0.6 | 61.46 | 0.23
| 820 | 695.6 | 1.9 | 246.4 | 0.4
5379 | 840
5380 | 880 | 121.3 | 0.6 | 39.3 | 0.2
| 880 | 284.8 | 1 | 96.64 | 0.23
| 880 | 950.9 | 0 | 378 | 0.6
5385 | 1000 | 276.3 | 1.5 | 91.05 | 0.36
| 1000 | 653.8 | 2.1 | 224.3 | 0.6
| 1000 | 950.9 | 0 | 546.8 | 0.6
5386 | 1100 | 511.3 | 3.9 | 168.6 | 1.4
| 1100 | 950.9 | 0 | 387.4 | 1.7
| 1100 | 950.9 | 0 | NA | NA
5393 | 1200 | NA | NA | NA | NA
5394 | 1300 | 25.63 | 0.09 | 1.965 | 0.01
5395 | 1330 | 29.1 | 0.1 | 2.297 | 0.011
5396 | 1350 | 31.52 | 0.12 | 2.542 | 0.012
5397 | 1370 | 34.76 | 0.15 | 2.846 | 0.015
5398 | 1390 | 37.72 | 0.22 | 3.099 | 0.019
5399 | 1400 | 39.78 | 0.26 | 3.309 | 0.022
5400 | 1420 | 43.04 | 0.23 | 3.578 | 0.017
5401 | 1430 | 45.7 | 0.2 | 3.822 | 0.022
5402 | 1440 | 46.52 | 0.19 | 3.966 | 0.022
5403 | 1450 | 48.92 | 0.22 | 4.171 | 0.022

## LYSO (Cs-137)
Run | Voltage | Pules height (mV) | error | Pulse area (nVs) | error
5356 | 740 | 68.2 | 1.5 | 22.39 | 0.61
|  | 191.6 | 1.2 | 67.58 | 0.33
|  | 287.7 | 1.1 | 101.6 | 0.4
5357 | 760 | NA | NA | 26.84 | 0.89
|  | 232 | 2 | 81.72 | 0.32
|  | 341.1 | 1.3 | 120.2 | 0.4
5360 | 780
5361 | 720
5364 | 620 | 23.28 | 0.95 | 6.071 | 0.498
|  | 62.9 | 0.4 | 20.42 | 0.14
|  | 91.08 | 0.38 | 30.57 | 0.15
5365 | 640
5368 | 660
5369 | 680
5372 | 700
5373 | 600
5374 | 800
5377 | 820
5378 | 840 | 152.2 | 5.4 | 51.61 | 1.63
|  | 441.1 | 1.8 | 156.4 | 0.6
|  | 662.8 | 3.1 | 234 | 1
5381 | 880
5382 | 580
5383 | 500
5384 | 540

## Sheet2
log log plot | Pulse voltage vs time in general | XMP hist plot - different variables avalible
for barium as well | area is better in general
both area and puse height | ultimaltely want to calibrate for energy | LSYO spontaneous decay energy (why didn't the peal dissapear)
also from no source electron boiling
fit lines
ratio of lines (b in fit param vs peak energy?)

## beam runs
Run |  | Current | Trigger | Threshold | Scaler rate CH1 (Hz) | Error | Scaler rate CH2 (Hz) | Error |  |  | Run | Voltage | Tigger | Area | err | Calib m | Calib c | Energy (keV)
6 | 5667 | 3 | 1 or 2 or 3 or 4 | 0.01 | 102414.5781 | 19.68 | 103942.125 | 21.02 |  |  | 6 | 750V | CH1 (OR all) | 162.7 | 0.9 | 0.36768 | 0.10389 | 442.2224
7 | 5668 | 3 | 1 or 2 or 3 or 4 | 0.03 | 60844.293 | 9.45 | 61384.5078 | 10.4 |  | Excluded
8 | 5669 | 3 | 1 & 3 | 0.01 | 102327.7188 | 38.57 | 104712.6562 | 42.52
9 | 5670 | 3 | 2 & 4 | 0.01 | 107268.8203 | 37.49 | 110172.0391 | 72.49
10 | 5671 | 3 | 1 or 2 or 3 or 4 | 0.01 | 105118.1719 | 21.29 | 106800.1719 | 24.47
11 | 5672 | 3 | 1 & 3 | 0.01 | 105817.8906 | 19.93 | 107824.2266 | 28.6
[5 empty] | 104589.4359 |  | 106690.2438
12 | 5673 | 5 | 1 or 2 or 3 or 4 | 0.01 | 155582.1094 | 16.63 | 162851.4531 | 18.9
13 | 5674 | 5 | 1 & 3 | 0.01 | 147978.8281 | 46.3 | 155303.2656 | 52.31
14 | 5675 | 5 | 1 & 2 | 0.01 | 149447.4375 | 25.52 | 157556.0312 | 32.66
15 | 5676 | 5 | 3 & 4 | 0.01 | 149863.6406 | 33.45 | 157504.0469 | 15.75
16 | 5677 | 5 | 2 & 4 | 0.01 | 151183.9531 | 19.82 | 158739.2812 | 17.35
[5 empty] | 150811.1937 |  | 158390.8156
17 | 5678 | 10 | 1 or 2 or 3 or 4 | 0.01 | 229035.6406 | 19.78 | Something wrong? | NA
Note that without the beam the rates were ~100 Hz
All with 100,000 events
pulse area = m * energy + c
energy = 1/m * (area - c)

## Sheet1
- 5.324 ± 0.001 = | 5.324 | 497.8472
- 7.017 ± 0.009 = | 7.017 | 656.1597
- 9.005 ± 0.009 = | 9.005 | 842.0576
- 13.67 ± 0.00 = | 13.67 | 1278.2817
- 15.65 ± 0.01 = | 15.65 | 1463.4315
- 5.399 ± 0.002 = | 5.399 | 504.8605
- 9.122 ± 0.001 = | 9.122 | 852.9982
- 11 ± 0 = | 11 | 1028.61
- 14.88 ± 0 = | 14.88 | 1391.4288
- 24.14 ± 0 = | 24.14 | 2257.3314